No. 2170 CycLoops Bicycle Rack

Bicycle Rack shall be TimberForm® CycLoops™ model No. 2170 in the bicycle capacity, material, color finish and mounting style selected by the owner's representative and in the quantity shown on the bill of materials or the project drawings.  Manufacturer, Columbia Cascade Company, 1300 SW Sixth Avenue, Suite 310, Portland OR 97201-3464 U.S.A.

1.  Materials

Bicycle Rack shall be one-piece 2-inch i.d. schedule 40 mild steel or stainless steel seamless pipe with a minimum wall thickness of 5/32 inch.  Easily vandalized thin wall tubing is not allowed.  –E embedment mount (permanent) legs shall extend ten inches below finished grade and be drilled to accept No. 4 re-bar furnished by installing contractor.  –P pedestal mount (fixed surface) shall include separate pedestal mount bases consisting of 1/4 inch thick mild steel plate permanently welded to two 1-1/2 inch i.d. schedule 40 pipe sleeves.  Decorative metal base covers shall conceal pedestal bases and the anchor bolts furnished by installing contractor.

2.  Construction

Bicycle Rack shape shall be derived from smooth six-inch radius mandrel bends.  Bending that distorts the pipe is not allowed.  Bicycle Rack shall be deburred and ground smooth after fabrication.

3.  Finish

Steel and cast iron parts shall be coated with CASPAX-7(, a tough, opaque, UV resistant exterior grade polyester powder coating applied to a minimum thickness of 6 mils.  Liquid, epoxy or lead-containing powder coatings are not acceptable.

Preparation of the mild steel substrate shall incorporate the phosphate system.  Substrate preparation shall consist first of mechanical cleaning to remove heavy mill scale, rust, varnish, grease, etc., with surfaces uniformly abraded to promote quality of finish coating.  Chemical cleaning in accordance with TT-C-490C, Methods I and III shall remove impurities from the surfaces.

After the two-step cleaning process, the metal substrate shall receive a corrosion-inhibiting iron phosphate pre-coating in accordance with TT-C-490C, Type II, prior to the application of the powder color coat.  The color coating shall be applied by the electrostatic method and then oven-cured at 400 degrees Fahrenheit to chemically bond the coating to the substrate and to render the coated metal resistant to abrasion, impact, chipping, weathering, and rusting.

-or-

Mild steel (-G) bicycle rack shall be hot-dipped galvanized per ASTM 123 after complete fabrication.

-or-

Stainless steel (-S) bicycle rack shall have No. 4 polish finish.