No. 2178 Artful CycLoops Bicycle Rack

Bicycle Rack shall be TimberForm® Artful CycLoops® model No. 2178 in the design, finish and mounting style selected by the owner's representative and in the quantity shown on the bill of materials or the project drawings.  Manufacturer, Columbia Cascade Company, 1300 SW Sixth Avenue, Suite 310, Portland, OR 97201-3464 U.S.A.

1.  Materials

Bicycle Rack shall be 2 inch i.d. schedule 40 mild steel seamless pipe with a minimum wall thickness of 5/32 inch.  Easily vandalized thin wall tubing is not allowed.  Mounting shall be embedment (-E) or pedestal (-P).  Embedment mount (permanent) legs shall extend ten inches below finished grade and be drilled to accept No. 4 re-bar furnished by installing contractor.  Each pedestal mount base shall be manufactured from 1/4 inch thick mild steel plate, permanently welded to pipe ends and include two 5/8” dia. holes for anchor bolts furnished by installing contractor.

2.  Construction

Bicycle Rack shape shall be derived from smooth radius mandrel bends which form the stylist shape. Bending that distorts the pipe is not allowed.  Bicycle Rack shall be deburred and ground smooth after fabrication and be permanently and continuously welded into a single unit.  Welds shall be smooth and continuous with no gaps or pin holes.

3.  Finish

Bicycle Rack shall be coated with CASPAX-7(, a tough, opaque, UV resistant exterior grade polyester powder coating applied to a minimum thickness of 6 mils.  Liquid, epoxy or lead-containing powder coatings are not acceptable.

Preparation of the mild steel substrate shall incorporate the phosphate system.  Substrate preparation shall consist first of mechanical cleaning to remove heavy mill scale, rust, varnish, grease, etc., with surfaces uniformly abraded to promote quality of finish coating.  Chemical cleaning in accordance with TT-C-490C, Methods I and III shall remove impurities from the surfaces.

After the two-step cleaning process, the metal substrate shall receive a corrosion-inhibiting iron phosphate pre-coating in accordance with TT-C-490C, Type II, prior to the application of the powder color coat.  The color coating shall be applied by the electrostatic method and then oven-cured at 400 degrees Fahrenheit to chemically bond the coating to the substrate and to render the coated metal resistant to abrasion, impact, chipping, weathering, and rusting.